## EIB-Test
EIB Excel Tester
| last EIB message on bus | EIBnet | EIBserver = | not connected
| GA = 0/1/47 | OCX | OCX-Version = | ---
Light
Wie es funktioniert:
in die Excel-Tabelle wurde das EIBnet-OCX eingebunden (siehe G4/G5)
damit der Test klappt, muss der EIBserver gestartet sein (auf demselben PC = 127.0.0.1)
nun drückt man auf "Connect", das stellt die Verbindung zum EIBserver her
in J4 wird der Verbindungsstatus angezeigt, in J5 die Version vom OCX
in E5 wird die zuletzt empfangene EIB Nachricht als Gruppenadresse angezeigt
Mit den Tasten ON/OFF kann man ein Licht schalten, Aktor ist die 10/3/0
der Status des Aktor ist 10/3/1 und ändert die Farbe in B9
Licht aus = grau / Licht ein = gelb
Die ganzen Adressen kann man im VB-Code anpassen, einfach mit ALT-F11 den Editor öffnen
How it works
an instance of the EIBnet-OCX has been added to this table (see G4/G5)
the EIBserver must run on this PC (localhost 127.0.0.1)
press "Connect" to establish a connection to the EIBserver
the connection status is displayed in J4
the software version of the OCX is displayed in J5
the last EIB message from the BUS is displayed in E5
With the buttons ON/OFF you can switch an e.g. light on and off, address is 10/3/0
the status of the light is received on 10/3/1 and changes the color in B9
Light off = gray / Light on = yellow
all addresses can be changed in the VB-Code, use ALT-F11 to start the editor
Connect
Disconnect
ON
OFF